DURAL 340 SL & DURAL 340 NS

Semi-Rigid Epoxy Construction / Control Joint Filler and Traffic Loop Sealant

{Note to Specifier: The paragraphs below are meant to be incorporated into Parts 2 and 3 of a standard CSI 3 Part Format specification, the General Structural Notes, or directly onto the plans. They must be carefully reviewed by a qualified design professional and edited to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings.}

PART 1:	GENERAL

{Note to Specifier: Insert the following paragraph and sub paragraphs as required for your project. Euclid’s recommended products are shown in italics. More info can be found on these products at www.euclidchemical.com or by clicking on the product links.}

1.01 	RELATED WORK:

A. 	Joint Fillers – Eucolastic, Tammsflex, Dural 340, Qwikjoint UVR

B. 	Concrete Repair:

1. 	Vertical and Overhead: Euco V-100, Tamms Structural Mortar

2. 	Horizontal: Express Repair, VersaSpeed

3. 	Form and Pour: Eucocrete

C. 	Crack Repair/Injection: Dural 452 LV, Dural Fast Set Epoxy Gel

D. 	Bonding Agents:  Duralprep A.C., Dural 452 MV

E. 	Waterproofing/Dampproofing : Tamoseal, Vandex Super, Hey’Di K-11, Vandex BB75

F. 	Architectural Coatings: Tammscoat, Tammolastic

G. 	Anti-Graffiti Coatings:  AG 100, AG-400,

H. 	Traffic Deck Coatings: Tammsdeck, Flexdeck

I. 	Decorative Floor Coatings: Duraltex

J. 	Epoxy Chemical Resistant Coatings: Duralkote 240, Duralkote 500, Duraltex 1705/07, Duraltex 1805/07

K. 	Penetrating Water Repellents:

1. 	Horizontal and Vertical: Baracade WB 244, Baracade 100C, Baracade Silane 40 IPA

2. 	Vertical: Chemstop WB Regular/Heavy Duty

L. 	Penetrating Epoxy Sealer: Euco #512 VOX Epoxy Sealer

M. 	Cathodic Protection: Sentinel Galvanic Anodes

1.02	JOB SITE CONDITIONS

A.	Material shall be stored at temperatures between 50 and 90 deg F.

B.	Do not apply Semi-Rigid Epoxy Joint Filler to frozen or frost filled substrates, when the temperature is below 50°F (10°C), or expected to fall below that temperature within 24 hours.

C.	Protect Semi-Rigid Epoxy Joint Filler from moisture. Do not apply to exterior surfaces if rain is expected within 24 hours

PART 2:	PRODUCT

2.01  SEMI-RIGID EPOXY JOINT FILLER

{Note to Specifier: Dural 340 Semi-Rigid Epoxy Joint Filler is available in a self-leveling (SL) formulation for horizontal surfaces and a non-sag (NS) formula for vertical surfaces. Edit text below as appropriate.}

A.	Semi-Rigid Epoxy Joint Filler: Provide Two-Component, 100% solids epoxy Semi-Rigid Joint Filler and Traffic Loop Sealant exhibiting the following properties.

1.	Mix Ratio (A:B by volume):  		1:1

3.	Tensile Strength, ASTM D 638:  		800 psi (5.5 MPa)

4.	Shore A Hardness  ASTM 2240:  	80-90

5.	Gel Time (100 g):  			50 – 60 minutes

6.	Elongation, ASTM D 638:  		95 to 105

7.	Pot Life (Full Unit):  			30 to 45 minutes

8.	Tack Free Time:  			5 to 6 hours

9.	USDA Complaint

10.	Product:  Euclid Chemical (The); Dural 340 [SL][and][NS], www.euclidchemical.com

11.	Color:  [Standard Gray] [As chosen by owner’s representative from manufacturer’s standard color selection.]

B.	Manufacturer shall have ISO 9001 Quality Certification.

PART 3:	EXECUTION

3.01           SURFACE PREPARATION

{Note to Specifier: Based on ACI 302 recommendations, joint fillers should be applied as late as possible after construction to allow for minimal additional slab shrinkage. Consult ACI 302 comments regarding concrete shrinkage, joint filling and user expectations.}

A.	New concrete must be a minimum [28][45][90][120] days old.

B.	Prepare joints in accordance with manufacturer’s written instructions.

C.	The joint must be clean and sound.  All oil, dirt, debris, paint, curing and sealing compounds and any other material that could be a interfere with bond must be removed.  All joint facings must possess an open surface texture.  Crack edges shall be squared.

D.	The final step in cleaning shall be the complete removal of all residue with a vacuum cleaner or pressure washing. Substrate must be dry prior to application of Semi-Rigid Joint Filler.

3.02     SEMI-RIGID EPOXY JOINT FILLER APPLICATION

A.	Mix and install Semi-Rigid Joint Filler per manufacturer’s published instructions.

1.	Do not use backer rod, sand or other fill material for the purpose of reducing Semi-Rigid Joint Filler volume.  The full depth of the joint or crack shall be filled for proper load transfer.

2. 	Apply the Semi-Rigid Epoxy Joint Filler from the bottom of the joint upward to minimize voids or air pockets. Any topping off or subsequent retooling of the joint filler shall be done prior to the product achieving its initial set.

3.	Where Semi-Rigid Epoxy Joint Filler is used as a traffic loop sealant, start at the highest elevation and pour into the sawed joint until it is filled to 2/3 of its full depth. Allow Semi-Rigid Epoxy Joint Filler to settle around wires. Immediately thereafter make a second application to completely fill the slot.

END OF SECTION