[image: image1.jpg]The Euclid Chemical Company

EUCLID CHEMICAL




[image: image2.jpg]The Euclid Chemical Company
19215 Redwood Road
Cleveland, OH 44110-2799

Phone: 800-321-7628
Fax: 216-531-9596

EUCL'D CHEM'CAL www.euclidchemical.com






[image: image3.jpg]



TAMMSFLEX NS & TAMMSFLEX SL

NSF Approved Two Part Polysulfide Sealant for Joints and Cracks

{Note to Specifier: The paragraphs below are meant to be incorporated into Parts 2 and 3 of a standard CSI 3 Part Format specification, the General Structural Notes, or directly onto the plans. They must be carefully reviewed by a qualified design professional and edited to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings.}

PART 1:
GENERAL

{Note to Specifier: Insert the following paragraph and sub paragraphs as required for your project. Euclid’s recommended products are shown in italics. More info can be found on these products at www.euclidchemical.com or by clicking on the product links.}
1.01 
RELATED WORK: 
A. 
Joint Fillers – Eucolastic, Tammsflex, Dural 340, Qwikjoint UVR 
B. 
Concrete Repair:
1. 
Vertical and Overhead: Euco V-100, Tamms Structural Mortar 
2. 
Horizontal: Express Repair, VersaSpeed
3. 
Form and Pour: Eucocrete
C. 
Crack Repair/Injection: Dural 452 LV, Dural Fast Set Epoxy Gel
D. 
Bonding Agents:  Duralprep A.C., Dural 452 MV
E. 
Waterproofing/Dampproofing : Tamoseal, Vandex Super, Hey’Di K-11, Vandex BB75
F. 
Architectural Coatings: Tammscoat, Tammolastic
G. 
Anti-Graffiti Coatings:  AG 100, AG-400, 
H. 
Traffic Deck Coatings: Tammsdeck, Flexdeck
I. 
Decorative Floor Coatings: Duraltex
J. 
Epoxy Chemical Resistant Coatings: Duralkote 240, Duralkote 500, Duraltex 1705/07, Duraltex 1805/07
K. 
Penetrating Water Repellents: 
1. 
Horizontal and Vertical: Baracade WB 244, Baracade 100C, Baracade Silane 40 IPA
2. 
Vertical: Chemstop WB Regular/Heavy Duty
L. 
Penetrating Epoxy Sealer: Euco #512 VOX Epoxy Sealer
M. 
Cathodic Protection: Sentinel Galvanic Anodes
1.02
JOB SITE CONDITIONS


A.
Material shall be stored at temperatures between 50 and 90 deg F.

B.
Do not apply Polysulfide Joint Sealant to frost filled surfaces. Both substrate and ambient temps shall be 40 deg F. and rising at time of application. 

PART 2:
PRODUCT


2.01
POLYSULFIDE JOINT SEALANT

A.
Polysulfide Joint Sealant: Provide (2) component, NSF approved, polysulfide, two part, elastomeric, caulking and sealing compound available in non-sag and self-leveling formulations. Product shall exhibit the following properties at 70 deg F.
1.
Meets ASTM C 920

2.
Meets NSF Standard 61
3.
Solids Content:



100%
4.
Shore A Hardness per ASTM D2240:  
25 to 35

5.
Joint Movement Capability:  

+/- 25

6.
Elongation per ASTM D638:  

500 to 550%
7.
Tack Free:



12 to 24 hrs

8.
Tensile Strength per ASTM D638:
150 to 200 psi

9.
Acceptable Products:

a.
Tammsflex NS and Tammsflex SL by The Euclid Chemical Company, www.euclidchemical.com
B.
Manufacturer shall have ISO 9001 Quality Certification. To ensure compatibility all products shall be from the same manufacturer.

PART 3- EXECUTION


3.01
SURFACE PREPARATION

A.
New concrete must be a minimum 28 days old.

B.
Prepare joints and cracks per manufacturer’s written instructions.

C.
Surfaces of the joints and cracks shall be clean, sound and dry.  Contaminants such as previously applied sealants, form releases agents, grease, oil, curing compounds, etc… shall be removed.  Dust shall be blown out of the joints and cracks with oil free, moisture free compressed air.  
D.
Substrates shall be completely dry at time of Non-Sag Polyurethane Hybrid Joint Sealant application.
3.02
POLYSULFIDE JOINT SEALANT APPLICATION

{Note to Specifier: TAMMSFLEX PRIMER is required to prime the joint facing when the product will be used on nonporous surfaces (metal, granite, etc.) or when the sealant will be underwater. Insert paragraph below in primer will be required. A field trial is recommended to determine actual adhesion with and without primer}

[A.
Apply manufacturer’s recommended primer liberally with a clean brush or roller. Do not allow the primer to puddle or pond. Use with adequate ventilation. Polyurethane Hybrid Joint Sealant must be applied within 8 hours after primer application.]

B.
Mix and install sealant per manufacturer’s written instructions.

1.
Do not mix more material than can be applied in 2 hours.

2.
Place manufacturer’s recommended backer rod or bond breaker tape into the joints and make sure they are secured in place. 
3.
Width to depth ratios shall be equal for joints that are 1/4" (6 mm) to 1/2" (13 mm) in width. If joint width is 1/2" (13 mm) to 1” (25 mm), the depth of Joint Sealant shall be 1/2 the width, with 1/2” (13 mm) being the maximum allowable depth of Joint Sealant.

4.
Install Non-Sag Polysulfide Joint Sealant into joints per manufacturer’s published instructions using standard caulking guns. Once the joint is full, tool the sealant using a rounded spatula to create a concave surface.
5.
Install Self-Leveling Polysulfide Joint Sealant into joints per manufacturer’s published instructions using standard caulking guns. Once the joint is full leave material undisturbed to self level.




