[image: image1.jpg]EUCLID CHEMICAL

Guide Specification

The Euclid Chemical Company
19215 Redwood Road
Cleveland, OH 44110-2799
Phone: 800-321-7628

Fax: 216-531-9399

www.euclidchemical.com




[image: image2.jpg]The Euclid Chemical Company
19215 Redwood Road
Cleveland, OH 44110-2799

Phone: 800-321-7628
Fax: 216-531-9596

EUCL'D CHEM'CAL www.euclidchemical.com






[image: image3.jpg]



VANDEX QUICKBINDER 

Accelerating Agent for Vandex Super
{Note to Specifier: The paragraphs below are meant to be incorporated into Part 2 and 3 of a standard CSI 3 Part Format specification (normally 03 30 00), the General Structural Notes, or directly onto the plans. They must be carefully reviewed and edited by a qualified design professional to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings.}

PART 2:
PRODUCTS

2.__
ADMIXTURES

A.
Accelerating Agent for Vandex Super, and containing no calcium chloride.

1.
Product:

a)
Euclid Chemical Company (The); VANDEX QUICKBINDER, www.euclidchemical.com

2.__
MANUFACTURER 

A. Manufacturer shall have ISO 9001 Quality Certification. To ensure compatibility, all admixtures shall be from the same manufacturer.
PART 3:
EXECUTION
A. Intended for use with Vandex Super crystalline waterproofing powder to create a fast-setting mortar that stops actively leaking water.
B. Follow manufacturer’s written instruction for mixing, application and curing.



